## AV-new
TEST REPORT
CUSTOMER NAME |  |  | Pin Point Engineers
ADDRESS |  |  | Dehradun
NATURE OF TEST |  |  | AIR VELOCITY
TEST TAKEN ON |  |  | 29/01/2023
EQUIPMENT ID |  |  | 10
LOCATION |  |  | Random
REPORT NO. |  |  | PPE003AV290120231
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  | VALIDITY
Anemometer |  | AVM-08 |  |  |  | 201202260 |  |  | 25/03/2023
OBSERVATIONS:
Equipment Name | Inlet No. | V1 |  | V2 |  | V3 |  | V4 | V5 | AVERAGE VELOCITY (FPM)
sad | 12 | 12 |  | 12 |  | 12 |  | 12 | 12 | 12
Acceptance criteria :Not less Than ACPH | [6 empty] | GRADE : A
REPORT PREPARED BY |  |  |  |  | VERIFIED BY
PIN POINT ENGINEERS |  |  |  |  | Pin Point Engineers
Report Prepared by nirmalama64