## NVPC
PARTICLE COUNT TEST
CUSTOMER NAME |  | Pin Point Engineers
ADDRESS |  | Dehradun
TEST TAKEN ON |  | 30/05/2023
TEST TAKEN CONDITION |  | At Rest
AHU NO. |  | A
LOCATION |  | A
REPORT NO. |  | PPE003PC3005202311
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME | MAKE/MODEL |  |  | SR.NO. |  |  | VALIDITY
Particle Counter | 9500-01 |  |  | 95001809003 |  |  | 15/01/2024
OBSERVATIONS:
Room Name & ID No. | Location |  | ≥ 0.5 μm |  | ≥ 5.0 μm | Remarks
A | A |  | 1 |  | 1 | Pass
| das |  | 123 |  | 123 | Fail
| asd |  | 123 |  | 123 | Fail
| Average |  | 82 |  | 82
| STD |  | 70 |  | 70
Maximum Permitted number of particles/m³ equal to or greater than the tabulated size as per ISO 14644:2015
GRADE |  |  | 0.5 μ m |  |  | 5.0 μm
GRADE ISO 5 |  |  | 3520 |  |  | 29
TEST PREPARED OUT BY |  |  | VERIFIED BY
Electronically Signed by Anukriti Sharma on 30/05/2023
PIN POINT ENGINEERS |  |  | Pin Point Engineers