## AV-new
AIR VELOCITY REPORT
CUSTOMER NAME |  |  | Pin Point Engineers
ADDRESS |  |  | Dehradun
TEST TAKEN ON |  |  | 20/05/2023
AHU NO. |  |  | 12
DEPARTMENT |  |  | TEST DEPARTMENT
REPORT NO. |  |  | PPE003AV2005202312
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  |  | VALIDITY
Anemometer |  | AVM-04 |  |  |  | S12K240201 |  |  |  | 25/03/2023
OBSERVATIONS:
Room Name | Inlet No. |  | V1 | V2 | V3 | V4 | V5 | Avg. Vel. | Inlet Size Ft2 | CFM | Room Volume (Ft3) | ACPH
12 | 1221 |  | 12 | 12 | 21 | 21 | 21 | 17.4 | 12 | 208.8 | 12 | 3060
| 1221 |  | 21 | 12 | 21 | 21 | 21 | 19.2 | 21 | 403.2
TOTAL CFM | [9 empty] | 612
Acceptance criteria :Not less Than 213 ACPH | [6 empty] | GRADE : C
REPORT PREPARED BY |  |  |  |  | VERIFIED BY
Electronically Signed by temp user on 22/05/2023
PIN POINT ENGINEERS |  |  |  |  | Pin Point Engineers