## AV-new
AIR VELOCITY REPORT
CUSTOMER NAME |  |  | Pin Point Engineers
ADDRESS |  |  | Dehradun
TEST TAKEN ON |  |  | 20/05/2023
EQUIPMENT ID |  |  | 234
DEPARTMENT |  |  | 234
REPORT NO. |  |  | PPE003AV200520235
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  | VALIDITY
Anemometer |  | HT-9819 |  |  |  | 202003305488 |  |  | 28/09/2023
OBSERVATIONS:
Equipment Name | Inlet No. | V1 |  | V2 |  | V3 |  | V4 | V5 | AVERAGE VELOCITY (FPM)
| 23 | 23 |  | 32 |  | 32 |  | 32 | 32 | 30.2
Acceptance criteria : NMT 90± 20 % ( 72 TO 108 FPM) | [6 empty] | GRADE : A
REPORT PREPARED BY |  |  |  |  | VERIFIED BY
PIN POINT ENGINEERS |  |  |  |  | Pin Point Engineers