## AV-new
AIR VELOCITY REPORT
CUSTOMER NAME |  |  | Pin Point Engineers
ADDRESS |  |  | Dehradun
TEST TAKEN ON |  |  | 22/05/2023
EQUIPMENT ID |  |  | fhf
DEPARTMENT |  |  | vgjgv
REPORT NO. |  |  | PPE003AV2205202321
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  | VALIDITY
Anemometer |  | AVM-08 |  |  |  | 201202268 |  |  | 16/11/2023
OBSERVATIONS:
Equipment Name | Inlet No. | V1 |  | V2 |  | V3 |  | V4 | V5 | AVERAGE VELOCITY (FPM)
ewew | ef | 20 |  | 30 |  | 110 |  | 10 | 10 | 36
| ef | 213 |  | 123 |  | 123 |  | 123 | 213 | 159
Acceptance criteria : NMT 90± 20 % ( 72 TO 108 FPM) | [6 empty] | GRADE : A
REPORT PREPARED BY |  |  |  |  | VERIFIED BY
Electronically Signed by temp user on 22/05/2023
PIN POINT ENGINEERS |  |  |  |  | Pin Point Engineers