## AV-new
AIR VELOCITY REPORT
CUSTOMER NAME |  |  | Pin Point Engineers
ADDRESS |  |  | Dehradun
TEST TAKEN ON |  |  | 22/05/2023
AHU NO. |  |  | 1
DEPARTMENT |  |  | sdds
REPORT NO. |  |  | PPE003AV2205202317
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  |  | VALIDITY
Anemometer |  | AVM-08 |  |  |  | 201202268 |  |  |  | 16/11/2023
OBSERVATIONS:
Room Name | Inlet No. |  | V1 | V2 | V3 | V4 | V5 | Avg. Vel. | Inlet Size Ft2 | CFM | Room Volume (Ft3) | ACPH
ff | f-01 |  | 90 | 120 | 100 | 80 | 90 | 96 | 4 | 384 | 1000 | 46.08
| f-02 |  | 120 | 80 | 90 | 100 | 90 | 96 | 4 | 384
TOTAL CFM | [9 empty] | 768
Acceptance criteria :Not less Than 20 ACPH | [6 empty] | CLASS : ISO 8
REPORT PREPARED BY |  |  |  |  | VERIFIED BY
Electronically Signed by temp user on 22/05/2023
PIN POINT ENGINEERS |  |  |  |  | Pin Point Engineers