## NVPC
PARTICLE COUNT TEST
CUSTOMER NAME |  | Pin Point Engineers
ADDRESS |  | Dehradun
TEST TAKEN ON |  | 23/05/2023
TEST TAKEN CONDITION |  | At Rest
AHU NO. |  | 1233
LOCATION |  | 123
REPORT NO. |  | PPE003PC230520232
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME | MAKE/MODEL |  |  | SR.NO. |  |  | VALIDITY
Particle Counter | 9500-01 |  |  | 95001809003 |  |  | 15/01/2024
OBSERVATIONS:
Room Name & ID No. | Location |  | ≥ 0.5 μm |  | ≥ 5.0 μm | Remarks
123 | 12345 |  | 12 |  | 21 | Pass
| Average |  | 12 |  | 21
STD
Maximum ISO 14644:2015
GRADE |  |  | 0.5 μ m |  |  | 5.0 μm
GRADE ISO 7 |  |  | 352000 |  |  | 2930
TEST PREPARED OUT BY |  |  | VERIFIED BY
Electronically Signed by temp user on 23/05/2023
PIN POINT ENGINEERS |  |  | Pin Point Engineers