## AV-new
AIR VELOCITY REPORT
CUSTOMER NAME |  |  | : Client Name
ADDRESS |  |  | :
TEST TAKEN ON |  |  | : At Rest Condition
AHU NO. |  |  | : AHU-00
DEPARTMENT |  |  | : XYZ
REPORT NO. |  |  | : PPE000AV00A
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  |  | VALIDITY
Digital Thermo Anemometer |  | Metravi/AVM-04 |  |  |  | S12K240201 |  |  |  | 2021-09-11
OBSERVATIONS:
Room Name | Inlet No. |  | V1 | V2 | V3 | V4 | V5 | Avg. Vel. | Inlet Size Ft2 | CFM | Room Volume (Ft3) | ACPH